## Czujki Xtralis
Lp. | Rodzina rozwiązań | Typ | Opis | Ilość | Cena netto PLN | Cena brutto PLN | Wartość netto PLN
szt.
Czujki VE
1 | VESDA-E | VEA-040-A00 | VEA-40 Det LEDs |  | 27722.3529 | 34098.4941 | 0
2 | VESDA-E | VEA-040-A10 | VEA-40 Det 3.5" Display |  | 30679.819 | 37736.1774 | 0
3 | VESDA-E | VEP-A00-1P | VEP 1 Pipe LEDs |  | 11643.0769 | 14320.9846 | 0
4 | VESDA-E | VEP-A00-P | VEP LEDs, Plastic Enc. |  | 14514.9321 | 17853.3665 | 0
5 | VESDA-E | VEP-A10-P | VEP 3.5"Dis, Plas Enc. |  | 16367.2398 | 20131.705 | 0
6 | VESDA-E | VEU-A00 | VEU LEDs |  | 18017.1946 | 22161.1493 | 0
7 | VESDA-E | VEU-A00-NF | VEU LEDs AFNOR |  | 18017.1946 | 22161.1493 | 0
8 | VESDA-E | VEU-A10 | VEU 3.5" Display |  | 20196.3801 | 24841.5475 | 0
9 | VESDA-E | VEU-A10-NF | VEU 3.5" Display AFNOR |  | 20196.3801 | 24841.5475 | 0
10 | VESDA-E | VES-A00-P | VES LEDs, Plastic Enc. |  | 25231.8552 | 31035.1819 | 0
11 | VESDA-E | VES-A10-P | VES 3.5"Dis, Plas Enc. |  | 26936.2896 | 33131.6362 | 0
Czujki VL
12 | VESDA | VLF-250 | VESDA LaserFOCUS 250 |  | 6381.9005 | 7849.7376 | 0
13 | VESDA | VLF-500 | VESDA LaserFOCUS 500 |  | 8771.2217 | 10788.6027 | 0
14 | VESDA | VLF-250-SIE | VLF-250 SIEMENS FDnet |  | 7510.4072 | 9237.8009 | 0
15 | VESDA | VLF-500-SIE | VLF-500 SIEMENS FDnet |  | 10545.7014 | 12971.2127 | 0
16 | VESDA | VLI-880 | VLI with Relays and Ethernet Only |  | 18756.5611 | 23070.5701 | 0
17 | VESDA | VLI-885 | VLI with VESDAnet |  | 20453.2127 | 25157.4516 | 0
Czujki liniowe OSID
18 | OSID-DE | OSI-10 | Imager - 7º coverage, 24V DC |  | 2436.0181 | 2996.3023 | 0
19 | OSID-DE | OSI-90 | Imager - 80º coverage, 24V DC |  | 2506.0633 | 3082.4579 | 0
20 | OSID-DE | OSE-SP-01 | Emitter - Standard Power, battery version |  | 1182.9864 | 1455.0733 | 0
21 | OSID-DE | OSE-SPW | Emitter - Standard Power, Wired at 24V DC |  | 1182.9864 | 1455.0733 | 0
22 | OSID-DE | OSE-HPW | Emitter - High Power, Wired at 24V DC |  | 1634.3891 | 2010.2986 | 0
23 | OSID-DE | OSE-HP-01 | Emitter - High Power, Alkaline battery |  | 1634.3891 | 2010.2986 | 0
24 | OSID-DE | VKT-301 | OSID Demo kit consisting of 2 X OSE-SPW (fitted with alkaline batteries), 1 X OSI-90, 1 X OSID-INST, fitted in a carry case with mounting plates |  | 5759.276 | 7083.9095 | 0
Akcesoria OSID
25 | OSID Accessories | OSID-INST | OSID Installation Kit. Incl: Laser alignment tool, test filter, PC cable, cleaning cloth, manual |  | 739.3665 | 909.4208 | 0
26 | OSID Accessories | OSP-001 | FTDI Cable 1.5m |  | 194.5701 | 239.3213 | 0
27 | OSID Accessories | OSP-002 | Laser Alignment tool |  | 287.9638 | 354.1955 | 0
28 | OSID Accessories | OSID-WG | Wire Guard |  | 194.5701 | 239.3213 | 0
29 | OSID Accessories | OSID-EHI | Imager Environmental Housing |  | 957.2851 | 1177.4606 | 0
30 | OSID Accessories | OSID-EHE | Emitter Environmental Housing |  | 754.9321 | 928.5665 | 0
31 | OSID Accessories | OSE-RBL | Imager - 7º coverage, 24V DC |  | 381.3575 | 469.0697 | 0
32 | OSID Accessories | OSE-RBA | Imager - 80º coverage, 24V DC |  | 225.7014 | 277.6127 | 0
[6 empty] | suma netto | 0
[6 empty] | suma brutto | 0
upust
[6 empty] | suma netto | 0
[6 empty] | suma brutto | 0

## Orurowanie Xtralis
Lp. | Typ | Opis | szt. | cena netto PLN | cena brutto PLN | wartość netto PLN
1 | PIP-001 | Rura, 25 mm, dł. 3 m, (paczka 20 szt.) |  | 475 | 584.25 | 0
2 | PIP-002 | Mufa, 25 mm, (paczka 10 szt.) |  | 24 | 29.52 | 0
3 | PIP-003 | Mufa rozłączna, 25 mm, (paczka 10 szt.) |  | 133 | 163.59 | 0
4 | PIP-004 | Reduktor 25 / 19 mm, (paczka 10 szt.) |  | 32 | 39.36 | 0
5 | PIP-005 | Łuk 90°, 25 mm, (paczka 10 szt.) |  | 125 | 153.75 | 0
6 | PIP-006 | Łuk 45°, 25 mm, (paczka 10 szt.) |  | 32 | 39.36 | 0
7 | PIP-007 | Napowietrznik, 25 mm, (paczka 10 szt.) |  | 47 | 57.81 | 0
8 | PIP-008 | Trójnik, 25 mm, (paczka 10 szt.) |  | 63 | 77.49 | 0
9 | PIP-009 | Uchwyt do rur, (paczka 20 szt.) |  | 71 | 87.33 | 0
10 | PIP-012 | Klej do PCV/ABS 250ML |  | 63 | 77.49 | 0
11 | PIP-013 | Uchwyt do rur typu obejma, (100szt.) |  | 94 | 115.62 | 0
12 | PIP-014 | Nożyce do rur |  | 382 | 469.86 | 0
13 | PIP-015 | Końcówka ssąca płaska |  | 32 | 39.36 | 0
14 | PIP-016 | Adapter rury kapilarnej 25mm/10mm (paczka 10 szt.) |  | 320 | 393.6 | 0
15 | PIP-017 | Łuk 90°, 25 mm, krótki, (paczka 10 szt.) |  | 47 | 57.81 | 0
16 | PIP-018 | Punkt testowy 25mm |  | 24 | 29.52 | 0
17 | PIP-019 | Mufa korekcyjna 100mm |  | 86 | 105.78 | 0
18 | PIP-020 | Mufa ognioochronna 25mm 2h |  | 156 | 191.88 | 0
19 | PIP-021 | Połączenie elastyczne 100cm 25mm |  | 117 | 143.91 | 0
20 | PIP-022 | Adapter 25mm na 3/8 BSP z gwintem wewnętrznym |  | 47 | 57.81 | 0
21 | PIP-023 | Kulowy zawór odcinający |  | 218 | 268.14 | 0
22 | PIP-024 | Zawór zwrotny |  | 218 | 268.14 | 0
23 | PIP-025 | Pułapka kondensacyjna |  | 522 | 642.06 | 0
24 | PIP-026 | Rura eleastyczna, 30cm |  | 63 | 77.49 | 0
25 | PIP-027 | Punkt testowy kapilarny |  | 24 | 29.52 | 0
26 | PIP-028 | Nakrętka m6 (paczka 10 szt.) |  | 24 | 29.52 | 0
27 | PIP-029 | Nakrętka m8 (paczka 10 szt.) |  | 24 | 29.52 | 0
28 | PIP-030 | Adapter pręta m6 (paczka 10 szt.) |  | 71 | 87.33 | 0
29 | PIP-031 | Adapter pręta m6 (paczka 10 szt.) |  | 71 | 87.33 | 0
30 | PIP-032 | Kołek m6 (paczka 100 szt.) |  | 250 | 307.5 | 0
31 | PIP-033 | Szklany wziernik (25mm) |  | 102 | 125.46 | 0
32 | PIP-034 | Adapter kompresyjny 25mm/10mm (paczka 10 szt.) |  | 288 | 354.24 | 0
33 | PIP-035 | Zakończenie rury T 25mm/10mm do kapilar (paczka 10 szt.) |  | 429 | 527.67 | 0
34 | 059-001 | Zestaw kapilarny płaski |  | 63 | 77.49 | 0
35 | 059-007 | Zestaw kapilarny stożkowy |  | 63 | 77.49 | 0
36 | 144-013 | Końcówka ssąca stożkowa |  | 32 | 39.36 | 0
37 | 221-035 | Rurka kapilarna 10mm 100 m czerwona |  | 654 | 804.42 | 0
38 | 221-036 | Rurka kapilarna 10mm 100 m przeźroczysta |  | 654 | 804.42 | 0
39 | 222-059 | Dyskretne zakończenie rury kapilarnej (paczka 10 szt.) |  | 16 | 19.68 | 0
40 | 10-PKIT-15 | Zestaw orurowania 15m |  | 662 | 814.26 | 0
41 | 10-PKIT-30 | Zestaw orurowania 30m |  | 942 | 1158.66 | 0
42 | VSP-850-G | Filtr na rurę szary |  | 514 | 632.22 | 0
43 | VSP-850-R | Filtr na rurę czerowny |  | 514 | 632.22 | 0
44 | VSP-855-4 | Zestaw wkładów filtra (4 szt.) |  | 249 | 306.27 | 0
45 | VSP-855-20 | Zestaw wkładów filtra (20 szt.) |  | 2094 | 2575.62 | 0
|  |  | 1 | suma netto |  | 0
|  |  | 1 | suma brutto |  | 0
|  |  | 1 | upust
|  |  | 1 | suma netto |  | 0
|  |  | 1 | suma brutto |  | 0